## Slide 2
Central Power Purchasing Agency (Guarantee) Limited
Load Forecast
Section

## Slide 3
Introduction
Bilal Ahmad
Consultant CPPA
Electrical Engineering … UET Lahore
MBA … Iqra University Lahore
This Power Market Survey Forecast is 16th Annual Study
Since 1985 when it was developed, continuously removing bugs and adding required modules.

## Slide 4
Power Market Survey (PMS )
Model Over View

## Slide 5
Model Used For Medium Term Forecast
POWER MARKET SURVEY (PMS) Model

## Slide 6
Comparison Of PMS Forecast Results With Historical Peak Data proves The accuracy Of PMS Forecast
    Comparison of Previous report of 2012-13 with actual values
    Comparison of recent forecast of 2015-16 with actual values
    Comparison of Other forecast with actual values
Authenticity of Forecast

## Slide 7
Comparison of PMS based forecast for NTDC System

## Slide 8
Years | Historical Peak (MW) | PMS Peak | Difference (%)
1999-00 | 9289 | 9311 | 0.2
2000-01 | 9718 | 9736 | 0.2
2001-02 | 10922 | 10243 | -6.2
2002-03 | 10484 | 10799 | 3.0
2003-04 | 11078 | 11398 | 2.8
2004-05 | 12035 | 12087 | 0.4
2005-06 | 13212 | 12916 | -2.2
2006-07 | 15138 | 15213 | 0.5
2007-08 | 16838 | 16480 | -2.1
2008-09 | 17252 | 17867 | 3.6
2009-10 | 17847 | 19451 | 8.9
2010-11 | 18270 | 19136 | 4.7
2011-12 | 19488 | 19400 | 0.5
Authenticity Of PMS Forecast
Comparison of PMS Peak Demand and actual Peak Demand

## Slide 9
Years | Historical Peak (MW) | PMS Peak | Difference (%)
2012-13 | 18227 | 18697 | 2.6%
2013-14 | 19966 | 19641 | -1.6%
2014-15 | 21031 | 20583 | -2.1%
2015-16 | 22559 | 21575 | -4.4%
2016-17 | 25717 | 24155 | -6.1%
2017-18 | 26741 | 26633 | -0.3%
2018-19 | 25627 | 25579 | -0.19%
From Base Year |  |  | 
Comparison of PMS Peak Demand and actual Peak Demand (Continued)

## Slide 10
Comparison of PMS Peak Demand and actual Peak Demand (Continued)
Years | Historical | PMS 2012-13 |  | PMS 2015-16 |  | PMS 2016-17 | 
 | Peak (MW) | Peak | Difference (%) | Peak | Difference (%) | Peak | Difference (%)
2012-13* | 18227 | 18697 | 2.6% |  |  |  | 
2013-14* | 19966 | 19641 | -1.6% |  |  |  | 
2014-15* | 21031 | 20583 | -2.1% |  |  |  | 
2015-16* | 22559 | 21575 | -4.4% |  |  |  | 
2016-17* | 25717 | 22662 | -11.9% | 24155 | -6.1% |  | 
2017-18* | 26741 | 23764 | -11.1% | 25241 | -5.6% | 26633 | -0.3%
2018-19* | 25627 | 24887 | -2.9% | 25709 | 0.32% | 27034 | 5.5%

## Slide 11
Authenticity Of PMS Forecast
Chart: 
| 1999-00 | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05 | 2005-06 | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16
Historical Peak (MW) | 9289 | 9718 | 10922 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 18270 | 19488 | 18227 | 19966 | 21031 | 22559
PMS Peak (MW) | 9311 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 15213 | 16480 | 17867 | 19451 | 19136 | 19400 | 18697 | 19641 | 20583 | 21575

## Slide 12
Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218

## Slide 13
Comparison of Forecast Report base year 1993-94 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240

## Slide 14
Comparison of Forecast Reports base year 1993-94, 1999-2000 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064

## Slide 15
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224

## Slide 16
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038

## Slide 17
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12, 2012-13 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038
2012-13 | 18697 | 19641 | 20583 | 21575 | 22662 | 23764 | 24887 | 26054 | 27289 | 28563 | 29873

## Slide 18
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12, 2012-13 , 2013-14 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038
2012-13 | 18697 | 19641 | 20583 | 21575 | 22662 | 23764 | 24887 | 26054 | 27289 | 28563 | 29873
2013-14 | 19926 | 21189 | 22457 | 23816 | 25140 | 26439 | 27725 | 29082 | 30503 | 32000 | 33535

## Slide 19
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12, 2012-13 , 2013-14, 2015-16 with Actual Peak demand
Chart: MW
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981 | 16750.0286 | 17556.064
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038
2012-13 | 18697 | 19641 | 20583 | 21575 | 22662 | 23764 | 24887 | 26054 | 27289 | 28563 | 29873
2013-14 | 19926 | 21189 | 22457 | 23816 | 25140 | 26439 | 27725 | 29082 | 30503 | 32000 | 33535
2015-16 | 22559 | 23488 | 24577 | 25698 | 26770 | 27958 | 29172 | 30445 | 31779 | 33166 | 34612

## Slide 20
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12, 2012-13 , 2013-14, 2015-16 and 2016-17 with Actual Peak demand
Chart: Title
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218 | 25717 | 26741
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981
2008-09 | 16960 | 18190 | 19655 | 21640 | 23734 | 25655 | 27429 | 29307 | 31366 | 33409
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038
2012-13 | 18697 | 19641 | 20583 | 21575 | 22662 | 23764 | 24887 | 26054 | 27289 | 28563 | 29873
2013-14 | 19926 | 21189 | 22457 | 23816 | 25140 | 26439 | 27725 | 29082 | 30503 | 32000 | 33535
2015-16 | 23199 | 24155 | 25241 | 26359 | 27430 | 28608 | 29826 | 31096 | 32426 | 33809 | 35251
2016-17 | 25717 | 26633 | 27684 | 28813 | 29901 | 31071 | 32296 | 33536 | 34841 | 36131 | 37447

## Slide 21
Comparison of Forecast Reports base year 1993-94, 1999-00, 2010-11, 2011-12, 2012-13 , 2013-14, 2015-16, 2016-17 and 2017-18 with Actual Peak demand
Chart: Title
| 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Actual Peak | 7797 | 7982 | 8008 | 8552 | 8825 | 9192 | 9289 | 9718 | 10109 | 10484 | 11078 | 12035 | 13212 | 15138 | 16838 | 17252 | 17847 | 17901 | 18280 | 18227 | 19926 | 21031.227 | 22558.9218 | 25117 | 26031
1993-94 (NPP update) | 7797 | 8666 | 9291 | 9958 | 10674 | 11433 | 12240
1999-2000 | 9289 | 9736 | 10243 | 10799 | 11398 | 12087 | 12916 | 13808 | 14851 | 15981
2008-09 | 16960 | 18190 | 19655 | 21640 | 23734 | 25655 | 27429 | 29307 | 31366 | 33409
2010-11 | 17963 | 19074 | 20059 | 21194 | 22379 | 23615 | 24926 | 26330 | 27876 | 29531 | 31224
2011-12 | 18280 | 20171 | 21129 | 22212 | 23313 | 24453 | 25667 | 26948 | 28290 | 29649 | 31038
2012-13 | 18697 | 19641 | 20583 | 21575 | 22662 | 23764 | 24887 | 26054 | 27289 | 28563 | 29873
2013-14 | 19926 | 21189 | 22457 | 23816 | 25140 | 26439 | 27725 | 29082 | 30503 | 32000 | 33535
2015-16 | 22559 | 23505 | 24591 | 25709 | 26780 | 27958 | 29176 | 30446 | 31776 | 33159 | 34601
2016-17 | 25117 | 25983 | 27034 | 28163 | 29251 | 30421 | 31646 | 32886 | 34191 | 35481 | 36797
2017-18 | 26031 | 24929.3238 | 26491.5418 | 27890.1465 | 29271.1118 | 30702.2801 | 32193.2831 | 33684.2699 | 35241.316 | 36862.5899 | 38513.4779

## Slide 22: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES
Chart: Energy Sale (GWh) 2016-17
| CPPA Purchased Energy | 132 kV sent out DISCOs | Sale of DISCOs
Actual | 106796 | 99391 | 81557
Forecast | 109518 | 102939 | 85379

## Slide 23: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES
Chart: CPPA-G Purchased (GWh) 2016-17
| Actual | Forecast | Comp/Forecast
 | 106796 | 109518 | 135941

## Slide 24: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES
Chart: DISCOs Energy Sale (GWh) 2016-17
| LESCO | FESCO | IESCO | HESCO | GEPCO | PESCO | MEPCO | SECPCO | TESCO | QESCO
ACTUAL | 17782 | 11498 | 9627 | 3718 | 8777 | 8432.1 | 13253 | 2788 | 1227.13 | 4452
Forecast | 18754 | 11225 | 9790 | 4509 | 7508 | 9738 | 14201 | 3751 | 1514 | 4389
Comp-Forecast | 23965 | 14518 | 12619 | 5878 | 9837 | 12493 | 17842 | 4936 | 2023 | 5867
5.5 %
-2.4 %
1.7 %
21.3 %
-14.5%
15.5 %
7.2 %
34.5%
23.4 %
-1.4 %

## Slide 25: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES
Chart: Energy Sent Out DISCOs (GWh) 2016-17
| LESCO | FESCO | IESCO | HESCO | GEPCO | PESCO | MEPCO | SECPCO | TESCO | QESCO
Actual | 20622 | 12858 | 10583 | 5359 | 9779 | 12511 | 15952 | 4489 | 1451 | 5789
Forecast | 21205 | 12499 | 10786 | 6017 | 8397 | 13950 | 16825 | 5812 | 1863 | 5573
Comp-Forecast | 27117 | 16146 | 13906 | 7844 | 11002 | 17876 | 21133 | 7648 | 2489 | 7450
2.8%
-2.8%
1.9%
12.3%
-14.9%
11.5%
5.5%
29.5%
28.4%
-3.7%

## Slide 26: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES (Monthly)
Computed Monthly Peak Demand ( MW)

## Slide 27: COMPARISON OF PMS FORECAST REPORT 2012-13 WITH ACTUAL FIGURES (Yearly)
Chart: Yearly System Peak Demand (MW) Comparison
| 2012-13 | 2013-14 | 2014-15 | 2015-16
Forecasted Peak Demand | 19915 | 20888 | 21858 | 22880 | 24001
Actual Peak Demand | 18827 | 20576 | 21701 | 23199 | 25717

## Slide 28: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Energy (GWh) Comparison 2016-17
| CPPA Purchased Energy | 132 kV sent out DISCOs | Sale of DISCOs
Actual | 106796 | 99391 | 81557
Forecast | 106258 | 98434 | 81020

## Slide 29: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Energy (GWh) Comparison 2017-18
| CPPA Purchased Energy | Sale of DISCOs
Actual | 120727 | 91902
Forecast | 111664 | 85829

## Slide 30: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: Actual vs Forecast (2017-18) with Constraints
| Peak Demand | Generation | Sale
Forecast | 21177 | 116622 | 89776
Actual | 20795 | 120727 | 91902

## Slide 31: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: Actual vs Forecast (2017-18) without Constraints
| Peak Demand | Generation | Sale
Forecast | 26633 | 143109 | 109256
Actual | 26741 | 148998.9142 | 118347.9983

## Slide 32: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Comparsion of actual with forecast for the year 2018-19
| Computed Peak (MW) | Generation (Gwh) | Sale (Gwh)
Actual | 25627 | 122542 | 94089
Forecasted | 25579 | 126702 | 97404

## Slide 33: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Energy Purchased by CPPA(GWh) 2016-17
| Actual | Forecast | Comp/Forecast
 | 106796 | 106258 | 135473

## Slide 34: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: 132 kV Energy Sent Out DISCOs (GWh) 2016-17
| LESCO | FESCO | IESCO | HESCO | GEPCO | PESCO | MEPCO | SECPCO | TESCO | QESCO
Actual | 20622 | 12858 | 10583 | 5359 | 9779 | 12511 | 15952 | 4489 | 1451 | 5789
Forecast | 21380 | 12684 | 10248 | 5308 | 9523 | 12275 | 15554 | 4340 | 1321 | 5801
Comp-Forecast | 27142 | 16146 | 13009 | 6756 | 12163 | 15655 | 19779 | 6374 | 2219 | 8376

## Slide 35: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: 11 kV Sent Out DISCOs (GWh) 2016-17
| LESCO | FESCO | IESCO | HESCO | GEPCO | PESCO | MEPCO | SECPCO | TESCO | QESCO
Actual | 20387.66 | 12612.23 | 10381.35 | 5167.17 | 9631.03 | 12125.55 | 15518.45 | 4306.68 | 1447.49 | 5673.24
Forecast | 21089 | 12503 | 10078 | 5126 | 9373 | 11827 | 15102 | 4183 | 1321 | 5683
Comp-Forecast | 26773 | 15915.2 | 12793 | 6523.8 | 11971.5 | 15084 | 19205 | 6143 | 2132 | 8206.1
3.4%
-0.9%
-2.9%
-0.8%
-2.7%
-2.5%
-2.7%
-2.9%
-8.74%
0.2 %

## Slide 36: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: DISCOs Sale (GWh) 2016-17
| LESCO | FESCO | IESCO | HESCO | GEPCO | PESCO | MEPCO | SECPCO | TESCO | QESCO
Actual | 17782 | 11498 | 9627 | 3718 | 8777 | 8432.1 | 13253 | 2788 | 1227.13 | 4452
Forecast | 18435 | 11416 | 9318 | 3918 | 8501 | 8161 | 13053 | 2714 | 1072 | 4431
Comp-Forecast | 23396 | 14529 | 11829 | 4987 | 10858 | 10410 | 16599 | 3986 | 1800 | 6398

## Slide 37: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Category wise sale (GWh) 2016-17
| DOMESTIC | COMMERCIAL | Small Industries | M&L Industries | TUBEWELL
Actual | 43238.4 | 7027.2 | 2708 | 19185 | 9063
Forecast | 41976 | 6510 | 2586 | 20903 | 8739

## Slide 38: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Comparison of System Recorded and Computed Peak (MW) 2016-17
| 2017-Recorded Peak | 2017-Computed Peak
Actual | 19218 | 25717
Forecast | 18129 | 24138

## Slide 39: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Comparison of System Recorded and Computed Peak (MW) 2017-18
| 2017-Recorded Peak | 2017-Computed Peak
Actual | 20795 | 26741
Forecast | 19038 | 25241

## Slide 40: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES
Chart: Peak Demand (MW) of DISCOS 2016-17
| LESCO | GEPCO | FESCO | IESCO | MEPCO | HESCO | PESCO | SEPCO | QESCO | TESCO
ACTUAL | 4765 | 2413 | 3053 | 2314 | 3804 | 1234 | 3110 | 1359 | 1840 | 580
Forecast | 4616 | 2432 | 3232 | 2367 | 3726 | 1442 | 2931 | 1926 | 1830 | 578
-3.1%
0.8%
5.9%
2.3%
-2.1%
16.9%
-5.8%
41.7%
-0.5%
-0.3%

## Slide 41: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES FOR 2016-17
Computed Monthly Energy Generation (GWH)
Computed Monthly Peak Demand (MW)

## Slide 42: COMPARISON OF PMS FORECAST REPORT 2015-16 WITH ACTUAL FIGURES FOR 2016-17 and 2017-18
Computed Monthly Energy Generation (GWH)
Computed Monthly Peak Demand (MW)

## Slide 43: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES FOR 2017-18
Computed Monthly Energy Generation (GWH)
Computed Monthly Peak Demand (MW)

## Slide 44: Comparison Of Total Sales, Alternate Sale (Regression) and PMS Sales for the Country

## Slide 45: Energy Sale, Reg_System Vs PMS- System

## Slide 46: Peak Demand Forecast Reg_System Vs PMS- System (2015-16)

## Slide 47: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: DISCOs 132kV SENT OUT 2017-18
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
Actual | 23731 | 10987 | 14446.26 | 11672 | 19005 | 14212 | 5743 | 6338 | 1692.82 | 4678
Forecast | 23111 | 10755 | 14010 | 11499 | 18399 | 13202 | 5646 | 6090 | 1549 | 4676
Comp-Forecast | 25191 | 11842 | 15176 | 12493 | 20410 | 21366 | 7339 | 10292 | 2586 | 7858

## Slide 48: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: DISCOs Sale (GWh) 2017-18
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
ACTUAL | 20448 | 9886 | 12924 | 10605 | 15853 | 8795.52 | 4027 | 4915 | 1481 | 2962
Forecast | 19978 | 9664 | 12548 | 10459 | 15299 | 8950 | 3926 | 4688 | 1311 | 2911
Comp-Forecast | 22031 | 10641 | 13599 | 11371 | 16979 | 14487 | 5103 | 7923 | 2188 | 4892

## Slide 49: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: DISCOs sale 2017-18 without constraints
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
ACTUAL | 21932.4039 | 10324.9165 | 13486.5997 | 11202.7193 | 17254.6253 | 11424.9421 | 4953.1423 | 12495.2774 | 4262.1956 | 4969.1872
Forecast | 22031 | 10641 | 13599 | 11371 | 16979 | 14487 | 5103 | 7964 | 2188 | 4892

## Slide 50: COMPARISON OF PMS FORECAST REPORT 2016-17 WITH ACTUAL FIGURES
Chart: Computed Peak Demand Comp for year 2017-18
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
Actual | 4936 | 2429 | 3036 | 2452 | 4018 | 3242 | 1256 | 1800 | 609 | 1318
Forecast 2016-17 | 4910 | 2492 | 2984 | 2452 | 4045 | 3636 | 1327 | 1887 | 638 | 1465
0.53%
-2.53%
1.74%
0%
-0.67%
-10.84%
-5.35%
-4.61%
-4.55%
-10.03%

## Slide 51: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Energy Purchase 2018-19
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | TESCO | HESCO | SEPCO | QESCO
Actual | 24338 | 11100 | 14970 | 11838 | 19367 | 14427 | 1821 | 5557 | 4412 | 6257
Forecast | 25042 | 11434 | 15136 | 12175 | 20660 | 14983 | 2010 | 5983 | 4908 | 6655

## Slide 52: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Energy Sale 2018-19
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | TESCO | HESCO | SEPCO | QESCO
Actual | 21132 | 10004 | 13500 | 10789 | 16310 | 9074 | 1603 | 3916 | 2781 | 4779
Forecast | 21621 | 10295 | 13558 | 11137 | 17243 | 9319 | 1762 | 4187 | 3115 | 5167
2.3 %
2.8 %
0.4 %
3.1 %
5.4 %
2.6 %
9 %
6.5 %
10.7 %
7.5 %

## Slide 53: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Peak Demand( Computed) 2018-19
| LESCO | GEPCO | FESCO | IESCO | MEPCO
Actual | 4581 | 2385 | 2880 | 2248 | 3735
Forecast | 4618 | 2309 | 2904 | 2436 | 3771
0.8 %
-3.3 %
0.8 %
7.7 %
1 %

## Slide 54: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Recorded System 2018-19
| Recorded Peak (MW) | Generation (Gwh) | Sale (Gwh)
Actual | 21736 | 122542 | 94089
Forecast | 21978 | 126702 | 97404

## Slide 55: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: System Computed 2018-19
| Computed Peak (MW) | Generation (Gwh) | Sale (Gwh)
Actual | 25627 | 145708 | 116756
Forecast | 25579 | 150245 | 114048
-0.19

## Slide 56: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Monthly Computed Demand 2018-19
| Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
Actual | 25575 | 25627 | 24838 | 20566 | 16093 | 16112 | 17353 | 15693 | 16853 | 20128 | 24233 | 24827
Forecast | 24300 | 24300 | 24045 | 22510 | 16882 | 16882 | 16371 | 16115 | 18673 | 21487 | 23533 | 25579

## Slide 57: COMPARISON OF PMS FORECAST REPORT 2017-18 WITH ACTUAL FIGURES
Chart: Monthly System Computed Energy 2018-19
| Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun
Actual | 15957.4335 | 16416.3958 | 14476.5888 | 11341.4123 | 9182.3078 | 9489.4029 | 9746.395 | 8283.8495 | 9437.0847 | 11486.722 | 13951.515 | 14694.808
Forecast | 15846 | 15563 | 14724 | 12765 | 9549 | 9665 | 9513 | 8811 | 10934 | 12148 | 14977 | 15749

## Slide 58: DISCOs forecasting performance
Chart: DISCOs deviation in percentage regarding actual sale of 2018-19 with PMS projections
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
PMS 2015-16 | 0.001754 | 0.068005 | 0.019176 | 0.031256 | 0.12297 | 0.014195 | -0.085688 | -0.023299 | 0.3819 | -0.051824
PMS 16-17 | -0.032462 | -0.016709 | 0.0067114 | -0.02898 | 0.011849 | -0.035091 | -0.048822 | -0.031022 | 0.17007 | -0.084595
PMS17-18 | -0.022617 | -0.028266 | -0.0042779 | -0.031247 | -0.054109 | -0.02629 | -0.064724 | -0.075092 | -0.090238 | -0.10722

## Slide 59: DISCOs forecasting performance
Chart: ABS average percentage Deviation in sale for last three forecast for actual year 2018-19
| LESCO | GEPCO | FESCO | IESCO | MEPCO | PESCO | HESCO | QESCO | TESCO | SEPCO
ABS Deviation in three forecast | 0.018944 | 0.03766 | 0.010055 | 0.030494 | 0.062976 | 0.025192 | 0.066411 | 0.043137 | 0.21407 | 0.081214

## Slide 60
Chart: 15-16 report 16-17 demand comp
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 22460 | 22733 | 22293 | 21832 | 15575 | 15736 | 15058 | 14499 | 17914 | 20276 | 22207 | 24138
Actual | 22460.3752 | 22733.1934 | 22293.423 | 21831.682 | 15575.1074 | 15736.2672 | 15057.784 | 14499 | 17914 | 19895 | 24481 | 25717

## Slide 61
Chart: 15-16 report energy gen comp with 16-17
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 11185.6573 | 10985.4832 | 10393.5643 | 9010.5463 | 6740.7762 | 6822.1668 | 6715.4352 | 6219.7324 | 7718.2369 | 8575.3884 | 10571.9072 | 11117.1058
Actual | 11132.6879 | 10910.2859 | 10364.7026 | 8756.6582 | 6946.9913 | 7172.999 | 6954.9277 | 6350.7765 | 7631.3498 | 8924.2015 | 11207.991 | 11578.6631

## Slide 62
Chart: 16-17 report 17-18 demand comp
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 25290 | 25290 | 25024 | 23426 | 17570 | 17570 | 17037 | 16771 | 19433 | 22361 | 24491 | 26621
Actual | 24128 | 25810 | 22001 | 20592 | 16410 | 16081 | 16022 | 15567 | 18246 | 21019 | 25315 | 26741

## Slide 63
Chart: 16-17 report energy gen comp for 17-18
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 12294.2456 | 12074.2327 | 11423.6499 | 9903.5636 | 7408.8412 | 7498.2982 | 7380.9887 | 6836.1578 | 8483.176 | 9425.2782 | 11619.668 | 12218.9002
Actual | 13758.1655 | 13969.4438 | 12442.6628 | 9546.0243 | 7527.2968 | 7717.4899 | 7763.953 | 6660.5975 | 7680.5137 | 9757.234 | 12539.809 | 13179.032

## Slide 64
Chart: 17-18 report 18-19 demand comp
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 24300 | 24300 | 24045 | 22510 | 16882 | 16882 | 16371 | 16115 | 18673 | 21487 | 23533 | 25579
Actual | 25575 | 25627 | 24838 | 20566 | 16093 | 16112 | 17353 | 15693 | 16853 | 20128 | 24233 | 24827

## Slide 65
Chart: 17-18 report energy gen comp with 18-19
| July | August | September | October | November | December | January | February | March | April | May | June
Forecast | 13291.5115 | 13053.6519 | 12350.2961 | 10706.9058 | 8009.8203 | 8106.5337 | 7979.7085 | 7390.6828 | 9171.3014 | 10189.8235 | 12562.2145 | 13210.0543
Actual | 13758.1655 | 13969.4438 | 12442.6628 | 9546.0243 | 7527.2968 | 7717.4899 | 7763.953 | 6660.5975 | 7680.5137 | 9757.234 | 12539.809 | 13179.032