## Slide 2
Central Power Purchasing Agency (Guarantee) Limited
Load Forecast
Section

## Slide 3
Power Market Survey (PMS )
Model Over View

## Slide 4
Main Data Base

## Slide 5
Show Input data File
We will show these tables from the model outputs already generated from the model execution

## Slide 6
PMS DATA REQUIRED From Each DISCO
Feeder-Wise Customer class Wise Sale (Huge Data Base)
Pending Applications Data For each Customer category
T & D losses (132 KV and 11KV)
T & D losses reduction program for future Projection
Units Received on 11 KV, 132 KV and Total Consumption
Planned load data for each customer class
Energy shed(GWh) for base year for each DISCO
List of existing Sub-stations With MVA Capacity of each Transformer
List of Proposed sub-stations with their commissioning dates and expected load and feeder shifting arrangement data

## Slide 7
PMS DATA REQUIRED From Each DISCO (Continued)
10. Last five years customer class wise energy sale data
  11. Last five years number of customers for each category
  12. Peak Demand (MW) From Each DISCO
    Recorded With Date and Time (Annual and Monthly)
    Computed Peak With Date and Time, and Load Shed at Peak(Annual and Monthly)
    13. Peak Demand (MW) of Sub-Stations in Each DISCO For Base Year
  Data From Other Entities
Energy Purchased By CPPAG
Recorded & Computed peak of System in (MW) With Export to KE
Transmission loss ( 220KV \ 500 KV ) (Gwh)
Export to K-Electric (GWh)

## Slide 8: Steps For Data Validation For Each DISCO
Activities Regarding Base Year
  Matching Category-wise and Total Sale
  Matching 11 kV Received By Adding Distribution Losses
  Matching 132 kV Received By Adding Transmission Losses (It means Matching Sent out of each DISCO)
  Match Grid Stations By Matching Actual Peak Demand of each Grid
  Adjust the Base year Sale with unserved energy (Load Shedding)
  Matching Recorded And Computed Demand of Each DISCO
  Pending Load Validation Check