## Slide 2
Power Market Survey (PMS )
Model Over View

## Slide 3
Calculations

## Slide 4
It Involves
  Applying Per Customer Growth Rates (For Growth in Existing Customers Consumption)
  And Adding Future Load Acquired by Field Survey and Pending Applications:
    1. Industries
              2. Commercial Buildings
    3. New Villages
    4. Housing Schemes
    5. Other Load
What Is Power Market Survey Forecasting ?

## Slide 5
DOMESTIC SALES EQUATION For a Single Feeder
Domestic Sales of previous year
Expected Growth Rate per customer
Load shedding of previous year
Expected Future Load And Pending applications Load In Next Year
+
x
+
+
=
Domestic Sales of next year

## Slide 6
Calculation Flow Chart (PMS) Sub Area Calculations

## Slide 7
Calculation Flow Chart (PMS) Technical Definitions