## Slide 2
Power Market Survey (PMS )
Model Over View

## Slide 3: Steps For Data Validation For Each DISCO
Activities Regarding Base Year
  Matching Category-wise and Total Sale
  Matching 11 kV Received By Adding Distribution Losses
  Matching 132 kV Received By Adding Transmission Losses (It means Matching Sent out of each DISCO)
  Match Grid Stations By Matching Actual Peak Demand of each Grid
  Match the Base year Sale with unserved energy (Load Shedding)
  Matching Recorded And Computed Demand of Each DISCO
  Pending And Proposed Load Validation Check

## Slide 4
  Explanation For Matching 11 kV Received By Adding Distribution Losses

## Slide 5: System Reports